## 2026-07-16
Jam | TSU Oil Level | TSU Oil Temperature | TSU Oil Pressure | eDMCR Oil Level | eDMCR Oil Temperature | eDMCR Oil Pressure | Bus U Temperature | Bus V Temperature | Bus W Temperature | WIT U Temperature | WIT V Temperature | WIT W Temperature | U-N Phase Voltage | V-N Phase Voltage | W-N Phase Voltage | U-V Phase Voltage | V-W Phase Voltage | U-W Phase Voltage | U Phase Current | V Phase Current | W Phase Current | Average Current
16:10:43 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:10:53 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:11:04 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:11:14 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:11:24 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:11:34 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:11:44 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:11:54 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:12:04 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:12:14 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:12:24 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:12:34 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:12:44 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:12:55 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:13:05 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:13:15 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:13:25 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:13:35 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:13:45 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:13:55 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:14:05 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:14:15 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:14:48 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:16:00 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:16:10 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:16:21 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:16:31 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:16:41 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:16:51 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:17:01 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:17:11 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:17:21 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:17:32 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:17:40 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:17:50 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:18:00 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:18:16 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:18:26 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:18:37 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:18:47 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:18:57 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:19:07 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:19:18 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:19:28 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:19:38 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:19:48 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:19:59 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:20:09 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:20:20 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:20:30 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:20:41 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:20:51 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:21:02 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:21:12 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:21:22 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:21:32 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:21:43 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:21:53 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:22:03 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:22:14 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:22:19 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:26:04 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:26:14 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:26:24 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:27:45 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:28:48 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:29:12 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:29:23 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:29:38 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:33:17 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:34:17 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:34:28 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:34:33 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:34:43 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:48:43 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:48:57 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:49:21 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:49:56 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:50:24 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:50:34 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:52:17 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:55:27 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:58:13 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:58:24 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00:26 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00:36 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:04:29 | 3 | 51.13 | 0.194 | 93.4 | 51.75 | 0.189 | 61.16 | 54.26 | 51.74 | 57.17 | 50.42 | 49.51 | 223.44 | 225.32 | 224.88 | 387 | 390.25 | 389.49 | 191.556 | 217.733 | 217.439 | 208.91
17:04:39 | 3 | 51.78 | 0.226 | 93 | 49.7 | 0.173 | 45.4 | 48.13 | 46.49 | 46.31 | 45.23 | 44.55 | 224.28 | 226.29 | 224.77 | 388.45 | 391.93 | 389.3 | 183.237 | 188.831 | 219.111 | 197.06
17:04:49 | 3 | 50.55 | 0.224 | 93.4 | 46.73 | 0.176 | 41.08 | 58.97 | 48.96 | 44.3 | 53.27 | 55 | 226.4 | 225.97 | 225 | 392.12 | 391.38 | 389.7 | 218.207 | 211.584 | 197.264 | 209.02
17:05:00 | 3 | 53.06 | 0.235 | 91.4 | 46.56 | 0.169 | 59.15 | 46.2 | 44.38 | 43.21 | 59 | 53.12 | 225.01 | 223.41 | 222.18 | 389.72 | 386.95 | 384.82 | 197.656 | 215.416 | 196.219 | 203.1
17:05:10 | 3 | 51.21 | 0.249 | 93.3 | 49.15 | 0.157 | 40.24 | 54.61 | 52.34 | 54.46 | 56.51 | 52.49 | 221.17 | 227.31 | 221.25 | 383.07 | 393.7 | 383.2 | 184.298 | 191.398 | 184.167 | 186.62
17:05:20 | 3 | 55.91 | 0.25 | 94.5 | 45.93 | 0.218 | 61.87 | 40.94 | 49.02 | 51.07 | 48.85 | 51.76 | 222 | 224.85 | 226.81 | 384.5 | 389.44 | 392.83 | 216.457 | 216.487 | 183.747 | 205.56
17:05:30 | 3 | 49.73 | 0.251 | 93.3 | 49.44 | 0.199 | 61.6 | 40.13 | 46.44 | 47.33 | 43.01 | 58.61 | 227.18 | 222.02 | 222.03 | 393.48 | 384.54 | 384.56 | 217.992 | 215.417 | 197.635 | 210.35
17:05:41 | 3 | 50.12 | 0.258 | 94.5 | 49.59 | 0.152 | 40.37 | 40.79 | 41.64 | 46.98 | 52.29 | 58.64 | 222.18 | 223.87 | 224.15 | 384.82 | 387.74 | 388.23 | 210.782 | 183.614 | 192.935 | 195.78
17:05:51 | 3 | 52.1 | 0.18 | 90.1 | 45.94 | 0.154 | 51.1 | 38.93 | 38.53 | 49.89 | 44.43 | 57.64 | 224.46 | 221.24 | 225.01 | 388.76 | 383.19 | 389.72 | 204.089 | 214.184 | 212.347 | 210.21
17:06:01 | 3 | 48.85 | 0.249 | 88.4 | 51.59 | 0.18 | 58.58 | 52.7 | 61.95 | 61.45 | 55.9 | 59.93 | 223.63 | 226.65 | 221.92 | 387.33 | 392.56 | 384.37 | 189.078 | 195.805 | 198.845 | 194.58
17:06:11 | 3 | 49.48 | 0.215 | 92.5 | 46.11 | 0.201 | 50.69 | 51.78 | 58.1 | 61.05 | 49.19 | 41.95 | 223.68 | 225.73 | 221.67 | 387.41 | 390.96 | 383.93 | 204.697 | 191.782 | 214.005 | 203.49
17:06:21 | 3 | 54.72 | 0.253 | 88.9 | 48.77 | 0.198 | 42.44 | 55.68 | 59.24 | 46.67 | 54.05 | 58.83 | 227.17 | 224.67 | 224.71 | 393.46 | 389.13 | 389.2 | 197.565 | 203.672 | 217.206 | 206.15
17:06:32 | 3 | 50.25 | 0.184 | 93.6 | 49.11 | 0.153 | 50.75 | 47.13 | 42.91 | 45.65 | 44.76 | 48.32 | 227.64 | 222.53 | 221.2 | 394.27 | 385.42 | 383.12 | 208.497 | 189.379 | 208.956 | 202.28
17:06:42 | 3 | 49.74 | 0.217 | 91.7 | 51.51 | 0.172 | 46.68 | 39.01 | 50.6 | 44.62 | 49.78 | 54.49 | 225.33 | 221.15 | 223.79 | 390.27 | 383.03 | 387.6 | 214.123 | 210.825 | 208.718 | 211.22
17:09:56 | 2 | 50.75 | 0.576 | 1.4 | 50.5 | 0.455 | 51.37 | 50.32 | 51.09 | 50.05 | 50.33 | 51.83 | 225.43 | 225.27 | 225.4 | 390.44 | 390.17 | 390.39 | 185.415 | 195.135 | 194.865 | 191.8
17:10:09 | 1.5 | 50.25 | 0.501 | 2.3 | 50.84 | 0.524 | 50.81 | 51.23 | 51.69 | 51.51 | 50.53 | 51.91 | 228.85 | 229.78 | 226 | 396.37 | 397.98 | 391.43 | 196.518 | 199.921 | 188.004 | 194.81
17:10:21 | 1.2 | 51.2 | 0.276 | 0.3 | 50.41 | 0.159 | 50.9 | 50.13 | 50.63 | 50.83 | 51.41 | 50.18 | 229.58 | 225.7 | 227.95 | 397.63 | 390.91 | 394.81 | 188.157 | 184.403 | 196.865 | 189.81
17:10:31 | 0.2 | 51.01 | 0.656 | 0.4 | 51.74 | 0.607 | 50.21 | 51.28 | 51.95 | 50.14 | 50.49 | 50.27 | 229.68 | 229.89 | 228.12 | 397.81 | 398.17 | 395.1 | 197.847 | 193.155 | 199.152 | 196.72
17:10:42 | 0.2 | 51.67 | 0.36 | 0.3 | 50.27 | 0.368 | 51.48 | 50.4 | 50.68 | 51.57 | 50.55 | 50.79 | 226.03 | 227.51 | 228.33 | 391.48 | 394.05 | 395.47 | 198.645 | 180.129 | 192.772 | 190.52
17:10:52 | 2 | 51.39 | 0.153 | 1.4 | 50.99 | 0.6 | 51.91 | 50.25 | 50.51 | 50.94 | 50.7 | 50.2 | 225.23 | 226.14 | 227.25 | 390.1 | 391.67 | 393.6 | 181.119 | 191.679 | 192.23 | 188.34
17:11:02 | 2.8 | 51.53 | 0.585 | 0.2 | 51.09 | 0.538 | 50.8 | 50.96 | 51.48 | 51.61 | 51.04 | 51.34 | 226.84 | 227.48 | 226.88 | 392.89 | 394 | 392.96 | 190.946 | 197.028 | 195.217 | 194.4
17:11:13 | 1.6 | 51.8 | 0.432 | 0.9 | 50.16 | 0.209 | 51.89 | 51.88 | 51.89 | 51.77 | 51.88 | 50.89 | 225.48 | 225.03 | 225.47 | 390.53 | 389.75 | 390.51 | 195.125 | 194.372 | 195.14 | 194.88
17:11:24 | 2.8 | 50.84 | 0.378 | 0.9 | 51.62 | 0.164 | 51.79 | 50.9 | 51.5 | 50.49 | 51.54 | 51.25 | 226.38 | 226.57 | 226.24 | 392.09 | 392.42 | 391.85 | 199.233 | 186.245 | 196.644 | 194.04
17:11:35 | 2.8 | 50.71 | 0.581 | 2.1 | 50.67 | 0.19 | 51.95 | 50.31 | 50.22 | 51.44 | 51.25 | 51.7 | 228.34 | 227.18 | 229.19 | 395.48 | 393.48 | 396.96 | 187.977 | 197.073 | 192.241 | 192.43
17:11:56 | 0.2 | 50.65 | 0.161 | 2.2 | 51.96 | 0.599 | 50.64 | 50.97 | 50.85 | 51.45 | 50.53 | 50.65 | 227.52 | 227.71 | 227.18 | 394.06 | 394.39 | 393.48 | 189.335 | 190.539 | 197.611 | 192.5
17:12:29 | 2.6 | 51.35 | 0.558 | 0.1 | 51.16 | 0.537 | 50.06 | 51.05 | 51.36 | 50.33 | 50.35 | 51.71 | 228.35 | 226.44 | 227.99 | 395.5 | 392.19 | 394.88 | 185.338 | 183.673 | 196.726 | 188.58
17:12:43 | 1.2 | 51.41 | 0.258 | 2.4 | 51.22 | 0.564 | 51.44 | 50.61 | 51.11 | 50.31 | 51.78 | 51.74 | 229.2 | 225.49 | 229.95 | 396.97 | 390.55 | 398.27 | 190.673 | 192.872 | 195.905 | 193.15
17:12:55 | 1.1 | 50.62 | 0.134 | 2.1 | 50.84 | 0.598 | 50.37 | 51.86 | 50.27 | 50.95 | 51.89 | 50.17 | 229.71 | 226.76 | 228.2 | 397.86 | 392.75 | 395.24 | 194.952 | 181.926 | 197.568 | 191.48
17:13:17 | 2.5 | 50.64 | 0.233 | 1.1 | 51.69 | 0.523 | 50.71 | 51.8 | 50.81 | 51.94 | 50.43 | 51.77 | 226.17 | 227.3 | 225.87 | 391.73 | 393.68 | 391.21 | 192.244 | 182.921 | 196.542 | 190.57
17:16:56 | 2.9 | 50.31 | 0.493 | 0.4 | 51.85 | 0.297 | 50.27 | 51.74 | 51.79 | 51.29 | 50.36 | 50.23 | 228.01 | 225.84 | 226.5 | 394.91 | 391.15 | 392.3 | 193.052 | 197.475 | 186.27 | 192.27
17:17:14 | 2.2 | 50.05 | 0.39 | 2 | 50.57 | 0.113 | 50.93 | 51.19 | 50.11 | 51.65 | 51.09 | 50.12 | 228.54 | 227.14 | 228.08 | 395.83 | 393.41 | 395.03 | 193.791 | 197.666 | 186.34 | 192.6
17:17:24 | 1.5 | 51.7 | 0.358 | 0.1 | 50.59 | 0.221 | 51.24 | 51.1 | 50.14 | 50.17 | 50.13 | 50.71 | 227.97 | 227.66 | 229.63 | 394.84 | 394.31 | 397.72 | 194.691 | 187.54 | 194.018 | 192.08
17:17:35 | 1.2 | 51.95 | 0.325 | 1.4 | 51.74 | 0.12 | 50.44 | 50.56 | 51.63 | 50.46 | 51.14 | 51.55 | 225.69 | 226.94 | 225.16 | 390.9 | 393.06 | 389.98 | 189.778 | 187.406 | 194.27 | 190.48
17:17:45 | 1.8 | 51.77 | 0.176 | 1.2 | 51.33 | 0.294 | 50.2 | 51.76 | 50.16 | 51.93 | 51.84 | 50.8 | 225.21 | 228.8 | 227.54 | 390.06 | 396.28 | 394.1 | 182.091 | 199.504 | 189.744 | 190.45
17:17:55 | 2.7 | 51.35 | 0.577 | 0.3 | 50.27 | 0.552 | 51.72 | 51.32 | 51.56 | 50.54 | 51.29 | 51.71 | 229.78 | 225.59 | 227.25 | 397.98 | 390.72 | 393.6 | 189.092 | 184.222 | 184.407 | 185.91